## Sheet1
Commissioning Request Form
(THIS IS NOT AN ORDER)
Request for the commissioning of a Fire Detection System and associated systems
Protec Fire Detection PLC, Protec House, Churchill Way, Nelson, Lancs, BB9 6RT. England.
Web: www.protec.co.uk Tel: (01282) 717171 For service (outside normal hours) Tel: 0370 907 1710
This request must be fully complete and returned 14 days prior to commission date.
1.0 Purchaser of equipment | [7 empty] | 7.0 Commissioning request
Your order No:
Please forward an official order with this form
2.0 Site Address (If unadopted road, enclose details). | [7 empty] | If previously quoted please insert cost:
3.0 Systems to be commissioned | [7 empty] | Date requested - Minimum 14 days notice is required for commission
Fire Detection |  |  |  | Emergency Lighting | [5 empty] | Number of days required |  |  | Date required
PAVA |  |  |  | Disabled Refuge
Air Sampling |  |  |  | Custodial System
Gas Suppression |  |  |  | Other
3.1 Fire Category | M |  | L1 |  | 4.0 Commission Type |  |  | 8.0 Information required
Fire Detection only | P1 |  | L2 |  | New | New |  |  | Yes | No | N/A
| P2 |  | L3 |  |  | Additional | [5 empty] | All of the listed equipment is on site
Not known |  |  | L4 |  |  | Alterations | [5 empty] | The system is wired in (Cable type)
|  |  | L5 | [8 empty] | Our electrician will be on site
5.0 Sales order information | [11 empty] | Ladders/Scaffolding/Access lifts are available
Your Order No: |  |  |  |  | Date: | [6 empty] | Has voltage been connected to any equipment
Protec Sales No: | [11 empty] | The installation meets BS7671
| Yes | No | Additional equipment | [8 empty] | Cabling has been tested to Section 38 (BS5839-1)
Equipment has been connected and securely fixed
If additional equipment has been ordered please detail below | [11 empty] | Access codes for any Open/client managed / third party panels
Your Order No: |  |  |  |  | Date: | [6 empty] | All required site permits have been organised and arranged.
Protec Sales No: | [7 empty] | 9.0 Minimum requirement for Fire detection commission to BS:5839-1
Cause & effects specification
6.0 Equipment to be commissioned | [11 empty] | "As fitted drawings"
Panel Manufacturer | [5 empty] | i.e Protec | [5 empty] | Zone details
Panel Model | [5 empty] | i.e 6500, 6100 | [5 empty] | Text listings
Model No | Description | [5 empty] | QTY |  |  |  |  | System specification available
Design certificate
Installation certificate
Radio Survey (wireless systems only)
Drawings / Data for any graphics systems
10.0 Maintenance requirement
11.0 Details for warranty
Contact Name:
Client:
Address Details:
Contact Number:
12.0 Site Induction
[9 empty] | Yes | No | A site induction is required if "YES" Please advise details below
Date
[9 empty] | Duration: |  |  |  | Time
Should you have any queries please ask our Customer Service on (01282) 717171
I / we accept your terms and conditions referenced overleaf, and that the above information provided is accurate.
Name (Printed): | [11 empty] | Contact Number:
Signed: | [11 empty] | Date:
Position:
For our full terms and conditions please refer to our website - www.protec.co.uk/terms © 2025 Protec fire Detection PLC GJD - Issue 9
Once completed please email to: | [10 empty] | service@protec.co.uk
This information must be made avaialbe to our engineers prior to commissioning. If all the relevant details are not provided then the equipment will be 'set to work' only and not commissioned to BS5839-1.
With reference to BS5839-1 it is essential that the commissioned fire equipment is subject to periodic maintenance. The fire precautions (workplace) regulations 1997 regulation 6, also refers to maintenance as necessary to the safety of employees in case of fire. For a free quotation, including our extended Product Life Time warranty please contact our customer services on (01282) 717171 or complete the below section of this form.
When a quotation is given it is subject to all terms and conditions being adhered to (see terms overleaf) and the information given on this form being accurate. If this is not completed with, then at our sole discretion, we reserve the right to charge on a time and expenses basis. Normally we will allow a total allowance of 30 min waiting time on site for breach of terms to be rectified before implementing the above.
Commissioning of system will normally be charged at engineers' current rate plus all expenses. Unless a figure has been previously quoted.
Note - a full day is a maximum 7.5 hours on site with any additional hours invoiced at our current premium rate. Half day is a maximum 3.75 hours on site, exceeding these hours then a full day will be invoiced.